{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Metals","Results","Assessment"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Metals","index":0,"n_rows":41,"n_cols":13,"rows_kept":41,"cut":false,"hidden":false,"merged":[[0,0,0,9],[26,4,27,4],[1,6,1,8],[2,4,3,4],[2,7,3,7],[1,3,1,5],[25,0,25,2],[26,0,27,0],[26,1,27,1],[26,2,27,2],[26,3,27,3]]}
["Metals Standards Calculator"]
[null,null,"1C: max","3A-3D: Acute (1-Hour Average)",null,null,"3A-3D: Chronic (4-Day Average)",null,null,"4: max"]
[null,null,"Dissolved","Total Recoverable","CF","Dissolved","Total Recoverable","CF","Dissolved","Dissolved"]
["Hardness",154.5,"ug/L","ug/l",null,"ug/l","ug/l",null,"ug/l","ug/L"]
["Aluminum",null,null,750,1,{"$f":"D5*E5","v":750},87,1,{"$f":"G5*H5","v":87},null,{"$f":"isformula(E5)","v":false},{"$f":"IF(isformula(E5)=FALSE,E5,B$4)","v":1}]
["Arsenic",null,10,340,1,{"$f":"D6*E6","v":340},150,1,{"$f":"G6*H6","v":150},100,{"$f":"isformula(E6)","v":false},{"$f":"IF(isformula(E6)=FALSE,E6,B$4)","v":1}]
["Barium",null,1000,null,null,null,null,null,null,null,false,0]
["Beryllium",null,4,null,null,null,null,null,null,null,false,0]
["Cadmium",null,10,{"$f":"EXP(1.0166*(LN($B$4))-3.924)","v":3.3196565153261455},{"$f":"1.136672-LN($B$4)*(0.041838)","v":0.925800359397419},3.0733391949649289,{"$f":"EXP(0.7409*(LN($B$4))-4.719)","v":0.37354373208418373},{"$f":"1.101672-LN($B$4)*(0.041838)","v":0.89080035939741908},{"$f":"G9*H9","v":0.33275289079124409},10,true,154.5]
["Chromium VI",null,null,16,1,16,11,1,11,null,false,1]
["Chromium III",null,null,{"$f":"EXP(0.819*(LN($B$4))+3.7256)","v":2574.7789503807576},0.316,{"$f":"D11*E11","v":813.63014832031945},{"$f":"EXP(0.819*(LN($B$4))+0.6848)","v":123.06577455225823},0.86,105.83656611494207,null,false,0.316]
["Chromium",null,50,null,null,null,null,null,null,100,false,0]
["Copper",null,1300,{"$f":"EXP(0.9422*(LN($B$4))-1.7)","v":21.091516068620923},0.96,20.247855425876086,{"$f":"EXP(0.8545*(LN($B$4))-1.702)","v":13.529139697108791},0.96,12.987974109224439,200,false,0.96]
["Iron",null,null,1000,1,{"$f":"D14*E14","v":1000},1,null,null,null,{"$f":"isformula(E14)","v":false},1]
["Lead",null,15,{"$f":"EXP(1.273*(LN($B$4))-1.46)","v":142.04829204905568},{"$f":"1.46203-LN($B$4)*(0.145712)","v":0.72761323783442633},103.3562177066636,{"$f":"EXP(1.273*(LN($B$4))-4.705)","v":5.5354180105560795},{"$f":"1.46203-LN($B$4)*(0.145712)","v":0.72761323783442633},{"$f":"G15*H15","v":4.0276434214277081},100,true,154.5]
["Mercury",null,2,2.4,1,2.4,1.2E-2,1,{"$f":"G16*H16","v":1.2E-2},null,false,1]
["Nickel",null,100,{"$f":"EXP(0.846*(LN($B$4))+2.255)","v":677.90299704649294},0.998,676.54719105239997,{"$f":"EXP(0.846*(LN($B$4))+0.0584)","v":75.369614682894138},0.997,{"$f":"G17*H17","v":75.143505838845456},null,false,0.998]
["Selenium",null,50,18.399999999999999,1,18.399999999999999,4.5999999999999996,1,{"$f":"G18*H18","v":4.5999999999999996},50,false,1]
["Silver",null,50,{"$f":"EXP(1.72*(LN($B$4))-6.59)","v":7.9975388108378738},0.85,6.7979079892121925,null,null,null,null,{"$f":"isformula(E19)","v":false},0.85]
["Zinc",null,7400,{"$f":"EXP(0.8473*(LN($B$4))+0.884)","v":173.21895980387941},0.97799999999999998,{"$f":"D20*E20","v":169.40814268819406},{"$f":"EXP(0.8473*(LN($B$4))+0.884)","v":173.21895980387941},0.98599999999999999,{"$f":"G20*H20","v":170.7938943666251},null,false,0.97799999999999998]
["Antimony",null,5.6,null,null,null,null,null,null,null,false,0]
["Cyanide",null,140,null,null,null,null,null,null,null,false,0]
["Thallium",null,0.24,null,null,null,null,null,null,null,false,0]
["Italicized standards are human health based - R 317-2-14,Table 2.14.6",null,null,null,null,null,null,null,null,null,null,0]
[]
[]
["Activity ID","Activity Start Date","Activity Start Time","Monitoring Location ID","Monitoring Location Name","Cadmium","Copper","Iron","Lead","Total dissolved solids","Zinc","Arsenic","Hardness, Ca, Mg"]
[null,null,null,null,null,"ug/l - Dissolved","ug/l - Dissolved","ug/l - Dissolved","ug/l - Dissolved","mg/l - Total","ug/l - Dissolved","ug/l - Dissolved","mg/l - Dissolved"]
["UCASE2009-4995000-1007-4-C","2009-10-07","12:30:00",4995000,"MARY ELLEN GULCH AB CNFL W/ N. FK OF AMERICAN FK",0.625,1.86,30.5,0.30099999999999999,166,91.9,1.1200000000000001,144.80000000000001]
[null,null,null,null,null,"exceeding 3A chronic"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,"````"]

{"sheet":"Results","index":1,"n_rows":311,"n_cols":9,"rows_kept":311,"cut":false,"hidden":false,"merged":[]}
["STORET","Date","Param_Short","DepthCode","Depth","Qry_Harndess.Fraction","Qry_Harndess.AvgOfValue","Qry_Metals 1.Fraction","Qry_Metals 1.AvgOfValue"]
[5941800,"1992-06-16","Ag",21,0,"Total",83.4,"Dissolved",1]
[5941800,"1992-06-16","Ag",29,9,"Total",88.3,"Dissolved",1]
[5941800,"1992-06-16","Ar",21,0,"Total",83.4,"Dissolved",2.5]
[5941800,"1992-06-16","Ar",29,9,"Total",88.3,"Dissolved",2.5]
[5941800,"1992-06-16","Cd",21,0,"Total",83.4,"Dissolved",0.5]
[5941800,"1992-06-16","Cd",29,9,"Total",88.3,"Dissolved",0.5]
[5941800,"1992-06-16","Cr",21,0,"Total",83.4,"Dissolved",2.5]
[5941800,"1992-06-16","Cr",29,9,"Total",88.3,"Dissolved",2.5]
[5941800,"1992-06-16","Cu",21,0,"Total",83.4,"Dissolved",10]
[5941800,"1992-06-16","Cu",29,9,"Total",88.3,"Dissolved",10]
[5941800,"1992-06-16","Fe",21,0,"Total",83.4,"Dissolved",110]
[5941800,"1992-06-16","Fe",29,9,"Total",88.3,"Dissolved",110]
[5941800,"1992-06-16","Hardness",21,0,"Total",83.4,"Total",83.4]
[5941800,"1992-06-16","Hardness",21,0,"Total",83.4,"Total",88.3]
[5941800,"1992-06-16","Hardness",29,9,"Total",88.3,"Total",83.4]
[5941800,"1992-06-16","Hardness",29,9,"Total",88.3,"Total",88.3]
[5941800,"1992-06-16","Hg",21,0,"Total",83.4,"Dissolved",0.1]
[5941800,"1992-06-16","Hg",29,9,"Total",88.3,"Dissolved",0.1]
[5941800,"1992-06-16","Mg",21,0,"Total",83.4,"Dissolved",5.0999999999999996]
[5941800,"1992-06-16","Mg",29,9,"Total",88.3,"Dissolved",5.0999999999999996]
[5941800,"1992-06-16","Mn",21,0,"Total",83.4,"Dissolved",270]
[5941800,"1992-06-16","Mn",29,9,"Total",88.3,"Dissolved",270]
[5941800,"1992-06-16","Pb",21,0,"Total",83.4,"Dissolved",2.5]
[5941800,"1992-06-16","Pb",29,9,"Total",88.3,"Dissolved",2.5]
[5941800,"1992-06-16","Se",21,0,"Total",83.4,"Dissolved",2.5]
[5941800,"1992-06-16","Se",29,9,"Total",88.3,"Dissolved",2.5]
[5941800,"1992-06-16","Zn",21,0,"Total",83.4,"Dissolved",21]
[5941800,"1992-06-16","Zn",29,9,"Total",88.3,"Dissolved",21]
[5941800,"1992-08-12","Ag",21,0,"Total",59.6,"Dissolved",1]
[5941800,"1992-08-12","Ag",29,6,"Total",92.9,"Dissolved",1]
[5941800,"1992-08-12","Ar",21,0,"Total",59.6,"Dissolved",2.5]
[5941800,"1992-08-12","Ar",29,6,"Total",92.9,"Dissolved",2.5]
[5941800,"1992-08-12","Cd",21,0,"Total",59.6,"Dissolved",0.5]
[5941800,"1992-08-12","Cd",29,6,"Total",92.9,"Dissolved",0.5]
[5941800,"1992-08-12","Cr",21,0,"Total",59.6,"Dissolved",2.5]
[5941800,"1992-08-12","Cr",29,6,"Total",92.9,"Dissolved",2.5]
[5941800,"1992-08-12","Cu",21,0,"Total",59.6,"Dissolved",10]
[5941800,"1992-08-12","Cu",29,6,"Total",92.9,"Dissolved",10]
[5941800,"1992-08-12","Fe",21,0,"Total",59.6,"Dissolved",170]
[5941800,"1992-08-12","Fe",29,6,"Total",92.9,"Dissolved",170]
[5941800,"1992-08-12","Hardness",21,0,"Total",59.6,"Total",59.6]
[5941800,"1992-08-12","Hardness",21,0,"Total",59.6,"Total",92.9]
[5941800,"1992-08-12","Hardness",29,6,"Total",92.9,"Total",59.6]
[5941800,"1992-08-12","Hardness",29,6,"Total",92.9,"Total",92.9]
[5941800,"1992-08-12","Hg",21,0,"Total",59.6,"Dissolved",0.1]
[5941800,"1992-08-12","Hg",29,6,"Total",92.9,"Dissolved",0.1]
[5941800,"1992-08-12","Mg",21,0,"Total",59.6,"Dissolved",5.4]
[5941800,"1992-08-12","Mg",21,0,"Total",59.6,"Dissolved",5.6]
[5941800,"1992-08-12","Mg",29,6,"Total",92.9,"Dissolved",5.4]
[5941800,"1992-08-12","Mg",29,6,"Total",92.9,"Dissolved",5.6]
[5941800,"1992-08-12","Mn",21,0,"Total",59.6,"Dissolved",510]
[5941800,"1992-08-12","Mn",29,6,"Total",92.9,"Dissolved",510]
[5941800,"1992-08-12","Pb",21,0,"Total",59.6,"Dissolved",2.5]
[5941800,"1992-08-12","Pb",29,6,"Total",92.9,"Dissolved",2.5]
[5941800,"1992-08-12","Se",21,0,"Total",59.6,"Dissolved",2.5]
[5941800,"1992-08-12","Se",29,6,"Total",92.9,"Dissolved",2.5]
[5941800,"1992-08-12","Zn",21,0,"Total",59.6,"Dissolved",10]
[5941800,"1992-08-12","Zn",29,6,"Total",92.9,"Dissolved",10]
[5941800,"1994-07-06","Hardness",21,0,"Total",74.599999999999994,"Total",74.599999999999994]
[5941800,"1994-07-06","Mg",21,0,"Total",74.599999999999994,"Dissolved",5.4]
[5941800,"1994-08-17","Ar",21,null,"Total",54.7,"Dissolved",2.5]
[5941800,"1994-08-17","Ar",21,null,"Total",54.7,"Total",44.5]
[5941800,"1994-08-17","Ar",29,6.7,"Total",80.8,"Dissolved",2.5]
[5941800,"1994-08-17","Ar",29,6.7,"Total",80.8,"Total",44.5]
[5941800,"1994-08-17","Cd",21,null,"Total",54.7,"Dissolved",0.5]
[5941800,"1994-08-17","Cd",21,null,"Total",54.7,"Total",4.45]
[5941800,"1994-08-17","Cd",29,6.7,"Total",80.8,"Dissolved",0.5]
[5941800,"1994-08-17","Cd",29,6.7,"Total",80.8,"Total",4.45]
[5941800,"1994-08-17","Cu",21,null,"Total",54.7,"Dissolved",10]
[5941800,"1994-08-17","Cu",21,null,"Total",54.7,"Total",20]
[5941800,"1994-08-17","Cu",29,6.7,"Total",80.8,"Dissolved",10]
[5941800,"1994-08-17","Cu",29,6.7,"Total",80.8,"Total",20]
[5941800,"1994-08-17","Hardness",21,null,"Total",54.7,"Total",54.7]
[5941800,"1994-08-17","Hardness",21,null,"Total",54.7,"Total",80.8]
[5941800,"1994-08-17","Hardness",29,6.7,"Total",80.8,"Total",54.7]
[5941800,"1994-08-17","Hardness",29,6.7,"Total",80.8,"Total",80.8]
[5941800,"1994-08-17","Hg",21,null,"Total",54.7,"Dissolved",0.1]
[5941800,"1994-08-17","Hg",21,null,"Total",54.7,"Total",0.22]
[5941800,"1994-08-17","Hg",29,6.7,"Total",80.8,"Dissolved",0.1]
[5941800,"1994-08-17","Hg",29,6.7,"Total",80.8,"Total",0.22]
[5941800,"1994-08-17","Mg",21,null,"Total",54.7,"Dissolved",5.4]
[5941800,"1994-08-17","Mg",21,null,"Total",54.7,"Dissolved",5.7]
[5941800,"1994-08-17","Mg",29,6.7,"Total",80.8,"Dissolved",5.4]
[5941800,"1994-08-17","Mg",29,6.7,"Total",80.8,"Dissolved",5.7]
[5941800,"1994-08-17","Pb",21,null,"Total",54.7,"Dissolved",1.5]
[5941800,"1994-08-17","Pb",21,null,"Total",54.7,"Total",44.5]
[5941800,"1994-08-17","Pb",29,6.7,"Total",80.8,"Dissolved",1.5]
[5941800,"1994-08-17","Pb",29,6.7,"Total",80.8,"Total",44.5]
[5941800,"1994-08-17","Se",21,null,"Total",54.7,"Dissolved",1]
[5941800,"1994-08-17","Se",21,null,"Total",54.7,"Total",44.5]
[5941800,"1994-08-17","Se",29,6.7,"Total",80.8,"Dissolved",1]
[5941800,"1994-08-17","Se",29,6.7,"Total",80.8,"Total",44.5]
[5941800,"1996-07-01","Hardness",21,0,"Total",81.599999999999994,"Total",81.599999999999994]
[5941800,"1996-07-01","Mg",21,0,"Total",81.599999999999994,"Dissolved",5.33]
[5941800,"1996-08-14","Ar",21,0,"Total",78,"Dissolved",2.5]
[5941800,"1996-08-14","Ar",29,8.3000000000000007,"Total",93.3,"Dissolved",2.5]
[5941800,"1996-08-14","Cd",21,0,"Total",78,"Dissolved",0.5]
[5941800,"1996-08-14","Cd",29,8.3000000000000007,"Total",93.3,"Dissolved",0.5]
[5941800,"1996-08-14","Cu",21,0,"Total",78,"Dissolved",6]
[5941800,"1996-08-14","Cu",29,8.3000000000000007,"Total",93.3,"Dissolved",6]
[5941800,"1996-08-14","Hardness",21,0,"Total",78,"Total",78]
[5941800,"1996-08-14","Hardness",21,0,"Total",78,"Total",93.3]
[5941800,"1996-08-14","Hardness",29,8.3000000000000007,"Total",93.3,"Total",78]
[5941800,"1996-08-14","Hardness",29,8.3000000000000007,"Total",93.3,"Total",93.3]
[5941800,"1996-08-14","Hg",21,0,"Total",78,"Dissolved",0.1]
[5941800,"1996-08-14","Hg",29,8.3000000000000007,"Total",93.3,"Dissolved",0.1]
[5941800,"1996-08-14","Mg",21,0,"Total",78,"Dissolved",5.62]
[5941800,"1996-08-14","Mg",21,0,"Total",78,"Dissolved",5.82]
[5941800,"1996-08-14","Mg",29,8.3000000000000007,"Total",93.3,"Dissolved",5.62]
[5941800,"1996-08-14","Mg",29,8.3000000000000007,"Total",93.3,"Dissolved",5.82]
[5941800,"1996-08-14","Pb",21,0,"Total",78,"Dissolved",1.5]
[5941800,"1996-08-14","Pb",29,8.3000000000000007,"Total",93.3,"Dissolved",1.5]
[5941800,"1996-08-14","Se",21,0,"Total",78,"Dissolved",0.5]
[5941800,"1996-08-14","Se",29,8.3000000000000007,"Total",93.3,"Dissolved",0.5]
[5941800,"1998-07-14","Hardness",21,0.1,"Total",77,"Total",77]
[5941800,"1998-07-14","Mg",21,0.1,"Total",77,"Dissolved",4.7]
[5941800,"1998-09-22","Ag",21,0.1,"Total",82.2,"Dissolved",1]
[5941800,"1998-09-22","Ag",29,9.8000000000000007,"Total",83,"Dissolved",1]
[5941800,"1998-09-22","Al",21,0.1,"Total",82.2,"Dissolved",54]
[5941800,"1998-09-22","Al",29,9.8000000000000007,"Total",83,"Dissolved",54]
[5941800,"1998-09-22","Ar",21,0.1,"Total",82.2,"Dissolved",2.5]
[5941800,"1998-09-22","Ar",29,9.8000000000000007,"Total",83,"Dissolved",2.5]
[5941800,"1998-09-22","Cd",21,0.1,"Total",82.2,"Dissolved",0.5]
[5941800,"1998-09-22","Cd",29,9.8000000000000007,"Total",83,"Dissolved",0.5]
[5941800,"1998-09-22","Cr",21,0.1,"Total",82.2,"Dissolved",2.5]
[5941800,"1998-09-22","Cr",29,9.8000000000000007,"Total",83,"Dissolved",2.5]
[5941800,"1998-09-22","Cu",21,0.1,"Total",82.2,"Dissolved",6]
[5941800,"1998-09-22","Cu",29,9.8000000000000007,"Total",83,"Dissolved",6]
[5941800,"1998-09-22","Fe",21,0.1,"Total",82.2,"Dissolved",104]
[5941800,"1998-09-22","Fe",29,9.8000000000000007,"Total",83,"Dissolved",104]
[5941800,"1998-09-22","Hardness",21,0.1,"Total",82.2,"Total",82.2]
[5941800,"1998-09-22","Hardness",21,0.1,"Total",82.2,"Total",83]
[5941800,"1998-09-22","Hardness",29,9.8000000000000007,"Total",83,"Total",82.2]
[5941800,"1998-09-22","Hardness",29,9.8000000000000007,"Total",83,"Total",83]
[5941800,"1998-09-22","Hg",21,0.1,"Total",82.2,"Dissolved",0.1]
[5941800,"1998-09-22","Hg",29,9.8000000000000007,"Total",83,"Dissolved",0.1]
[5941800,"1998-09-22","Mg",21,0.1,"Total",82.2,"Dissolved",5.07]
[5941800,"1998-09-22","Mg",21,0.1,"Total",82.2,"Dissolved",5.13]
[5941800,"1998-09-22","Mg",29,9.8000000000000007,"Total",83,"Dissolved",5.07]
[5941800,"1998-09-22","Mg",29,9.8000000000000007,"Total",83,"Dissolved",5.13]
[5941800,"1998-09-22","Mn",21,0.1,"Total",82.2,"Dissolved",170]
[5941800,"1998-09-22","Mn",29,9.8000000000000007,"Total",83,"Dissolved",170]
[5941800,"1998-09-22","Pb",21,0.1,"Total",82.2,"Dissolved",1.5]
[5941800,"1998-09-22","Pb",29,9.8000000000000007,"Total",83,"Dissolved",1.5]
[5941800,"1998-09-22","Se",21,0.1,"Total",82.2,"Dissolved",0.5]
[5941800,"1998-09-22","Se",29,9.8000000000000007,"Total",83,"Dissolved",0.5]
[5941800,"1998-09-22","Zn",21,0.1,"Total",82.2,"Dissolved",15]
[5941800,"1998-09-22","Zn",29,9.8000000000000007,"Total",83,"Dissolved",15]
[5941800,"2000-06-28","Hardness",21,0,"Dissolved",94.9,"Dissolved",94.9]
[5941800,"2000-06-28","Mg",21,0,"Dissolved",94.9,"Dissolved",5.85]
[5941800,"2000-08-23","Ag",21,0,"Dissolved",96.5,"Dissolved",1]
[5941800,"2000-08-23","Ag",29,3.7,"Dissolved",98.7,"Dissolved",1]
[5941800,"2000-08-23","Al",21,0,"Dissolved",96.5,"Dissolved",15]
[5941800,"2000-08-23","Al",29,3.7,"Dissolved",98.7,"Dissolved",15]
[5941800,"2000-08-23","Ar",21,0,"Dissolved",96.5,"Dissolved",2.5]
[5941800,"2000-08-23","Ar",29,3.7,"Dissolved",98.7,"Dissolved",2.5]
[5941800,"2000-08-23","Cd",21,0,"Dissolved",96.5,"Dissolved",0.5]
[5941800,"2000-08-23","Cd",29,3.7,"Dissolved",98.7,"Dissolved",0.5]
[5941800,"2000-08-23","Cr",21,0,"Dissolved",96.5,"Dissolved",2.5]
[5941800,"2000-08-23","Cr",29,3.7,"Dissolved",98.7,"Dissolved",2.5]
[5941800,"2000-08-23","Cu",21,0,"Dissolved",96.5,"Dissolved",6]
[5941800,"2000-08-23","Cu",29,3.7,"Dissolved",98.7,"Dissolved",6]
[5941800,"2000-08-23","Fe",21,0,"Dissolved",96.5,"Dissolved",33.1]
[5941800,"2000-08-23","Fe",29,3.7,"Dissolved",98.7,"Dissolved",33.1]
[5941800,"2000-08-23","Hardness",21,0,"Dissolved",96.5,"Dissolved",96.5]
[5941800,"2000-08-23","Hardness",21,0,"Dissolved",96.5,"Dissolved",98.7]
[5941800,"2000-08-23","Hardness",29,3.7,"Dissolved",98.7,"Dissolved",96.5]
[5941800,"2000-08-23","Hardness",29,3.7,"Dissolved",98.7,"Dissolved",98.7]
[5941800,"2000-08-23","Hg",21,0,"Dissolved",96.5,"Dissolved",0.1]
[5941800,"2000-08-23","Hg",29,3.7,"Dissolved",98.7,"Dissolved",0.1]
[5941800,"2000-08-23","Mg",21,0,"Dissolved",96.5,"Dissolved",6.0150000000000006]
[5941800,"2000-08-23","Mg",29,3.7,"Dissolved",98.7,"Dissolved",6.0150000000000006]
[5941800,"2000-08-23","Mn",21,0,"Dissolved",96.5,"Dissolved",63.7]
[5941800,"2000-08-23","Mn",29,3.7,"Dissolved",98.7,"Dissolved",63.7]
[5941800,"2000-08-23","Pb",21,0,"Dissolved",96.5,"Dissolved",1.5]
[5941800,"2000-08-23","Pb",29,3.7,"Dissolved",98.7,"Dissolved",1.5]
[5941800,"2000-08-23","Se",21,0,"Dissolved",96.5,"Dissolved",0.5]
[5941800,"2000-08-23","Se",29,3.7,"Dissolved",98.7,"Dissolved",0.5]
[5941800,"2000-08-23","Zn",21,0,"Dissolved",96.5,"Dissolved",15]
[5941800,"2000-08-23","Zn",29,3.7,"Dissolved",98.7,"Dissolved",15]
[5941800,"2004-06-10","Hardness",21,0,"Dissolved",114.2,"Dissolved",114.2]
[5941800,"2004-06-10","Mg",21,0,"Dissolved",114.2,"Dissolved",6.05]
[5941800,"2004-07-21","Hardness",21,0,"Dissolved",108.1,"Dissolved",108.1]
[5941800,"2004-07-21","Mg",21,0,"Dissolved",108.1,"Dissolved",6.01]
[5941800,"2004-08-04","Ag",21,5.4,"Dissolved",113.6,"Dissolved",1]
[5941800,"2004-08-04","Ag",29,null,"Dissolved",116.4,"Dissolved",1]
[5941800,"2004-08-04","Al",21,5.4,"Dissolved",113.6,"Dissolved",15]
[5941800,"2004-08-04","Al",29,null,"Dissolved",116.4,"Dissolved",15]
[5941800,"2004-08-04","Ar",21,5.4,"Dissolved",113.6,"Dissolved",1.19]
[5941800,"2004-08-04","Ar",29,null,"Dissolved",116.4,"Dissolved",1.19]
[5941800,"2004-08-04","Cd",21,5.4,"Dissolved",113.6,"Dissolved",0.5]
[5941800,"2004-08-04","Cd",29,null,"Dissolved",116.4,"Dissolved",0.5]
[5941800,"2004-08-04","Cr",21,5.4,"Dissolved",113.6,"Dissolved",2.5]
[5941800,"2004-08-04","Cr",29,null,"Dissolved",116.4,"Dissolved",2.5]
[5941800,"2004-08-04","Cu",21,5.4,"Dissolved",113.6,"Dissolved",6]
[5941800,"2004-08-04","Cu",29,null,"Dissolved",116.4,"Dissolved",6]
[5941800,"2004-08-04","Fe",21,5.4,"Dissolved",113.6,"Dissolved",10]
[5941800,"2004-08-04","Fe",29,null,"Dissolved",116.4,"Dissolved",10]
[5941800,"2004-08-04","Hardness",21,5.4,"Dissolved",113.6,"Dissolved",113.6]
[5941800,"2004-08-04","Hardness",21,5.4,"Dissolved",113.6,"Dissolved",116.4]
[5941800,"2004-08-04","Hardness",29,null,"Dissolved",116.4,"Dissolved",113.6]
[5941800,"2004-08-04","Hardness",29,null,"Dissolved",116.4,"Dissolved",116.4]
[5941800,"2004-08-04","Hg",21,5.4,"Dissolved",113.6,"Dissolved",0.1]
[5941800,"2004-08-04","Hg",29,null,"Dissolved",116.4,"Dissolved",0.1]
[5941800,"2004-08-04","Mg",21,5.4,"Dissolved",113.6,"Dissolved",6.33]
[5941800,"2004-08-04","Mg",21,5.4,"Dissolved",113.6,"Dissolved",6.51]
[5941800,"2004-08-04","Mg",29,null,"Dissolved",116.4,"Dissolved",6.33]
[5941800,"2004-08-04","Mg",29,null,"Dissolved",116.4,"Dissolved",6.51]
[5941800,"2004-08-04","Mn",21,5.4,"Dissolved",113.6,"Dissolved",47.9]
[5941800,"2004-08-04","Mn",29,null,"Dissolved",116.4,"Dissolved",47.9]
[5941800,"2004-08-04","Pb",21,5.4,"Dissolved",113.6,"Dissolved",1.5]
[5941800,"2004-08-04","Pb",29,null,"Dissolved",116.4,"Dissolved",1.5]
[5941800,"2004-08-04","Se",21,5.4,"Dissolved",113.6,"Dissolved",0.5]
[5941800,"2004-08-04","Se",29,null,"Dissolved",116.4,"Dissolved",0.5]
[5941800,"2004-08-04","Zn",21,5.4,"Dissolved",113.6,"Dissolved",15]
[5941800,"2004-08-04","Zn",29,null,"Dissolved",116.4,"Dissolved",15]
[5941800,"2004-09-14","Ag",21,0.1,"Dissolved",116.6,"Dissolved",1]
[5941800,"2004-09-14","Ag",29,3.7,"Dissolved",121,"Dissolved",1]
[5941800,"2004-09-14","Al",21,0.1,"Dissolved",116.6,"Dissolved",37.200000000000003]
[5941800,"2004-09-14","Al",29,3.7,"Dissolved",121,"Dissolved",37.200000000000003]
[5941800,"2004-09-14","Ar",21,0.1,"Dissolved",116.6,"Dissolved",1.1499999999999999]
[5941800,"2004-09-14","Ar",29,3.7,"Dissolved",121,"Dissolved",1.1499999999999999]
[5941800,"2004-09-14","Cd",21,0.1,"Dissolved",116.6,"Dissolved",0.5]
[5941800,"2004-09-14","Cd",29,3.7,"Dissolved",121,"Dissolved",0.5]
[5941800,"2004-09-14","Cr",21,0.1,"Dissolved",116.6,"Dissolved",2.5]
[5941800,"2004-09-14","Cr",29,3.7,"Dissolved",121,"Dissolved",2.5]
[5941800,"2004-09-14","Cu",21,0.1,"Dissolved",116.6,"Dissolved",6]
[5941800,"2004-09-14","Cu",29,3.7,"Dissolved",121,"Dissolved",6]
[5941800,"2004-09-14","Fe",21,0.1,"Dissolved",116.6,"Dissolved",52]
[5941800,"2004-09-14","Fe",29,3.7,"Dissolved",121,"Dissolved",52]
[5941800,"2004-09-14","Hardness",21,0.1,"Dissolved",116.6,"Dissolved",116.6]
[5941800,"2004-09-14","Hardness",21,0.1,"Dissolved",116.6,"Dissolved",121]
[5941800,"2004-09-14","Hardness",29,3.7,"Dissolved",121,"Dissolved",116.6]
[5941800,"2004-09-14","Hardness",29,3.7,"Dissolved",121,"Dissolved",121]
[5941800,"2004-09-14","Hg",21,0.1,"Dissolved",116.6,"Dissolved",0.1]
[5941800,"2004-09-14","Hg",29,3.7,"Dissolved",121,"Dissolved",0.1]
[5941800,"2004-09-14","Mg",21,0.1,"Dissolved",116.6,"Dissolved",6.51]
[5941800,"2004-09-14","Mg",21,0.1,"Dissolved",116.6,"Dissolved",6.68]
[5941800,"2004-09-14","Mg",29,3.7,"Dissolved",121,"Dissolved",6.51]
[5941800,"2004-09-14","Mg",29,3.7,"Dissolved",121,"Dissolved",6.68]
[5941800,"2004-09-14","Mn",21,0.1,"Dissolved",116.6,"Dissolved",13.5]
[5941800,"2004-09-14","Mn",29,3.7,"Dissolved",121,"Dissolved",13.5]
[5941800,"2004-09-14","Pb",21,0.1,"Dissolved",116.6,"Dissolved",1.5]
[5941800,"2004-09-14","Pb",29,3.7,"Dissolved",121,"Dissolved",1.5]
[5941800,"2004-09-14","Se",21,0.1,"Dissolved",116.6,"Dissolved",0.5]
[5941800,"2004-09-14","Se",29,3.7,"Dissolved",121,"Dissolved",0.5]
[5941800,"2004-09-14","Zn",21,0.1,"Dissolved",116.6,"Dissolved",15]
[5941800,"2004-09-14","Zn",29,3.7,"Dissolved",121,"Dissolved",15]
[5941800,"2005-06-14","Hardness",21,0.1,"Dissolved",68.7,"Dissolved",68.7]
[5941800,"2005-06-14","Mg",21,0.1,"Dissolved",68.7,"Dissolved",4.26]
[5941800,"2005-08-09","Hardness",21,0,"Dissolved",74.5,"Dissolved",74.5]
[5941800,"2005-08-09","Mg",21,0,"Dissolved",74.5,"Dissolved",4.5199999999999996]
[5941800,"2005-09-13","Ag",21,0,"Dissolved",77.099999999999994,"Dissolved",1]
[5941800,"2005-09-13","Ag",29,9.4,"Dissolved",79.8,"Dissolved",1]
[5941800,"2005-09-13","Al",21,0,"Dissolved",77.099999999999994,"Dissolved",33]
[5941800,"2005-09-13","Al",29,9.4,"Dissolved",79.8,"Dissolved",33]
[5941800,"2005-09-13","Ar",21,0,"Dissolved",77.099999999999994,"Dissolved",0.5]
[5941800,"2005-09-13","Ar",29,9.4,"Dissolved",79.8,"Dissolved",0.5]
[5941800,"2005-09-13","Cd",21,0,"Dissolved",77.099999999999994,"Dissolved",0.5]
[5941800,"2005-09-13","Cd",29,9.4,"Dissolved",79.8,"Dissolved",0.5]
[5941800,"2005-09-13","Cr",21,0,"Dissolved",77.099999999999994,"Dissolved",2.5]
[5941800,"2005-09-13","Cr",29,9.4,"Dissolved",79.8,"Dissolved",2.5]
[5941800,"2005-09-13","Cu",21,0,"Dissolved",77.099999999999994,"Dissolved",6]
[5941800,"2005-09-13","Cu",29,9.4,"Dissolved",79.8,"Dissolved",6]
[5941800,"2005-09-13","Fe",21,0,"Dissolved",77.099999999999994,"Dissolved",44.3]
[5941800,"2005-09-13","Fe",29,9.4,"Dissolved",79.8,"Dissolved",44.3]
[5941800,"2005-09-13","Hardness",21,0,"Dissolved",77.099999999999994,"Dissolved",77.099999999999994]
[5941800,"2005-09-13","Hardness",21,0,"Dissolved",77.099999999999994,"Dissolved",79.8]
[5941800,"2005-09-13","Hardness",29,9.4,"Dissolved",79.8,"Dissolved",77.099999999999994]
[5941800,"2005-09-13","Hardness",29,9.4,"Dissolved",79.8,"Dissolved",79.8]
[5941800,"2005-09-13","Hg",21,0,"Dissolved",77.099999999999994,"Dissolved",0.1]
[5941800,"2005-09-13","Hg",29,9.4,"Dissolved",79.8,"Dissolved",0.1]
[5941800,"2005-09-13","Mg",21,0,"Dissolved",77.099999999999994,"Dissolved",4.66]
[5941800,"2005-09-13","Mg",21,0,"Dissolved",77.099999999999994,"Dissolved",4.67]
[5941800,"2005-09-13","Mg",29,9.4,"Dissolved",79.8,"Dissolved",4.66]
[5941800,"2005-09-13","Mg",29,9.4,"Dissolved",79.8,"Dissolved",4.67]
[5941800,"2005-09-13","Mn",21,0,"Dissolved",77.099999999999994,"Dissolved",284]
[5941800,"2005-09-13","Mn",29,9.4,"Dissolved",79.8,"Dissolved",284]
[5941800,"2005-09-13","Ni",21,0,"Dissolved",77.099999999999994,"Dissolved",5]
[5941800,"2005-09-13","Ni",29,9.4,"Dissolved",79.8,"Dissolved",5]
[5941800,"2005-09-13","Pb",21,0,"Dissolved",77.099999999999994,"Dissolved",1.5]
[5941800,"2005-09-13","Pb",29,9.4,"Dissolved",79.8,"Dissolved",1.5]
[5941800,"2005-09-13","Se",21,0,"Dissolved",77.099999999999994,"Dissolved",0.5]
[5941800,"2005-09-13","Se",29,9.4,"Dissolved",79.8,"Dissolved",0.5]
[5941800,"2005-09-13","Zn",21,0,"Dissolved",77.099999999999994,"Dissolved",15]
[5941800,"2005-09-13","Zn",29,9.4,"Dissolved",79.8,"Dissolved",15]
[5941800,"2006-03-21","Hardness",21,1,"Dissolved",88.4,"Dissolved",88.4]
[5941800,"2006-03-21","Mg",21,1,"Dissolved",88.4,"Dissolved",5.66]
[5941800,"2006-05-23","Hardness",21,0.5,"Dissolved",77.599999999999994,"Dissolved",77.599999999999994]
[5941800,"2006-05-23","Mg",21,0.5,"Dissolved",77.599999999999994,"Dissolved",4.68]
[5941800,"2006-06-26","Hardness",21,0.5,"Dissolved",74.599999999999994,"Dissolved",74.599999999999994]
[5941800,"2006-06-26","Mg",21,0.5,"Dissolved",74.599999999999994,"Dissolved",4.7300000000000004]
[5941800,"2006-07-25","Hardness",21,0.5,"Dissolved",78.2,"Dissolved",78.2]
[5941800,"2006-07-25","Mg",21,0.5,"Dissolved",78.2,"Dissolved",4.88]
[5941800,"2006-08-29","Hardness",21,0.5,"Dissolved",87.4,"Dissolved",87.4]
[5941800,"2006-08-29","Mg",21,0.5,"Dissolved",87.4,"Dissolved",5.29]
[5941800,"2006-09-18","Hardness",21,0.5,"Dissolved",91.3,"Dissolved",91.3]
[5941800,"2006-09-18","Mg",21,0.5,"Dissolved",91.3,"Dissolved",5.94]
[5941800,"2006-10-24","Hardness",21,0.5,"Dissolved",71.8,"Dissolved",71.8]
[5941800,"2006-10-24","Mg",21,0.5,"Dissolved",71.8,"Dissolved",4.59]
[5941800,"2006-11-21","Hardness",21,0.5,"Dissolved",45.1,"Dissolved",45.1]
[5941800,"2006-11-21","Mg",21,0.5,"Dissolved",45.1,"Dissolved",2.72]
[5941800,"2007-01-22","Hardness",21,0.5,"Dissolved",82.5,"Dissolved",82.5]
[5941800,"2007-01-22","Mg",21,0.5,"Dissolved",82.5,"Dissolved",5.31]
[5941800,"2007-02-26","Hardness",21,0.5,"Dissolved",88.9,"Dissolved",88.9]
[5941800,"2007-02-26","Mg",21,0.5,"Dissolved",88.9,"Dissolved",5.35]
[5941800,"2007-04-27","Hardness",21,0.5,"Dissolved",90.2,"Dissolved",90.2]
[5941800,"2007-04-27","Mg",21,0.5,"Dissolved",90.2,"Dissolved",5.38]
[5941800,"2007-05-21","Hardness",21,0.5,"Dissolved",85.1,"Dissolved",85.1]
[5941800,"2007-05-21","Mg",21,0.5,"Dissolved",85.1,"Dissolved",5.15]

{"sheet":"Assessment","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}